KIT 22H INSTRUCTIONS

Collection of Specimens for HCV PCR Testing.

Contents:

- Sterile Vacutainer tube containing SST gel

- WSLH shipping label and UN3373 label

- Large cool pack

- MRV mailer

- Pressure bag and absorbent pad

Kit Description:

Kit may be used for the transport of specimens collected for Hepatitis C Virus (HCV) polymerase chain reaction (PCR) testing.   Multiple specimens may be mailed in a single mailer if in accordance with current shipping regulations.

Collection of specimens:

Collect a routine blood draw using the enclosed SST Vacutainer tube.   Centrifuge tube at 600-1200 rpm for 20 minutes within six hours of collection.   Place tube in biohazard bag with absorbent pad.  Store specimen at 2-8ºC or frozen until shipping.  Return mailer by express courier to insure receipt at WSLH within 72 hours of collection.

Packaging and Transport:

- Place bagged specimens into a pressure bag; seal bag securely.

- Include cushioning material as needed to prevent breakage.

- Complete a WSLH Requisition Form B and place in outer pocket of bag.

- Place sample in mailer along with frozen cold pack; seal mailer with tape.

- Place WSLH address label and Category B/UN3373 label on mailer.

- Attach label with the name, telephone number, and address of a person who has knowledge of the contents of the shipment.

- Ship in accordance with current shipping regulations.

- Select the most rapid method of transportation available (24 hour delivery is preferred).  Specimens should be shipped to arrive at the laboratory before 4:30 p.m. Monday through Friday or before 12:30 p.m. on Saturday.  Packages arriving after these hours or on Sundays may be subjected to unfavorable temperatures which could affect viral recovery.

Contact information:

WSLH:  www.slh.wisc.edu

Customer Service: (800) 862-1013 or (608) 224-4272

Clinical Orders:  (800) 862-1088 or (608) 224-4275

Reference Manual:  http://www.slh.wisc.edu/wslhApps/RefMan/wslhSearch.php